## Slide 1: PHOTOGRAPH PROTOCOL
A GUIDE FOR CLINICAL STAFF

## Slide 2: Indications for Clinical photographs
TREATMENT PLANNING

## Slide 3: During treatment
Good for Monitoring Treatment and Training therapists/Lecturing

## Slide 4: Post treatment
For Before and After photos and to monitor the retention phase

## Slide 5: Other Indications
Recording anomalies of tooth colour eg fluorosis, hypoplasia or discolouration
Recording gingival condition eg inflammation or recession.

## Slide 6: Standard Views
Extra-Oral- Frontal view with lips at rest and smiling /Lateral view in the Natural head position with lips at rest
Intra-Oral- Anterior view, Right and left buccal views(all in occlusion) and occlusal views of upper and lower

## Slide 7: Extraorals

## Slide 8: Extra-orals

## Slide 9: Extra-orals

## Slide 10: Intra-Orals

## Slide 11: Intra-Orals

## Slide 12: Intra-Orals

## Slide 13: Intra-Orals

## Slide 14: Intra-Orals

## Slide 15: EXTRA- ORAL VIEWS
PATIENT SHOULD BE STANDING AGAINST A PLAIN BACKGROUND
IN NATURAL HEAD POSITION, USUALLY FRANKFORT PLANE PARALLEL
TO FLOOR
HEAD & FACE SHOULD FILL FRAME
SMILE SHOULD BE NATURAL & NOT FORCED: REACH THE EYES
EAR SHOULD BE SEEN IN LATERAL POSITION & FRANKFORT PLANE
AGAIN PARALLEL TO FLOOR

## Slide 16: INTRA- ORAL VIEWS
USE TRIANGULAR PHOTO CHEEK RETRACTORS
PATIENT IN OCCLUSION
HOLD RETRACTORS FOR GOOD VISIBILITY OF FIRST MOLAR
TAKE BUCCAL VIEW WITH PARALLEL OCCLUSAL PLANE & CAMERA
POSITIONED AT FIRST PREMOLAR AREA
HOLD LIP RETRACTOR DOWNWARDS & OUT
WARM MIRROR TO PREVENT STEAMING FROM BREATH
TRY FOR LOWER OCCLUSAL FOR TONGUE TO GO BEHIND MIRROR

## Slide 17: MATERIALS TO USE

## Slide 18: CHEEK RETRACTORS
TRIANGULAR CHEEK RETRACTORS FOR EASY VIEW OF FIRST MOLARS
DAMPEN FOR PATIENT COMFORT
OFFER VASELINE IF DRY LIPS
PATIENT IN MOLAR OCCLUSION
AIM CAMERA AT FIRST PREMOLAR REGION

## Slide 19: LIP RETRACTOR
Used to take occlusal shots
Hold downwards and forwards
Can ask patient to hold the end
Dampen before palcing for patient comfort

## Slide 20: PHOTOGRAPHIC MIRROR
Use mirrors with handles to avoid fingers being seen in photos
Medium size mirror is correct for the majority of cases
To prevent misting place the mirror in a plastic lab bag and then in a bottle warmer
Give clear confident instructions to patient to reassure them

## Slide 21: DOWNLOADING
Download to your practice management software via card reader as per the program’s settings

## Slide 22: Summary
Gold Standard is to take clinical photographs for every patient pre- and post-treatment.
These are useful for recording occlusion, any abnormalities of the enamel, restorations in teeth and gingival heights/abnormalities.
Also useful for monitoring treatment progress and motivating patient’s during treatment.